OLIH Building Committee Minutes

Discuss, review and provide recommendations for all issues relating to the parish buildings and grounds to enhance and maintain properties for effective use in fulfilling the mission and vision of the faith community.

4th Thursday of each month 9:00 am

February 26, 2026

Opening Prayer: Good and gracious God, we gather, mindful that we are called to be stewards of your bounty and the responsibility you’ve given us to care for these buildings and grounds as a location of mission and service to you and your people. Be with us in our discussions, that they be glorifying to you. In Jesus’ name we pray. Amen.

Agenda Items:

- HVAC Controls Update

  - West side of facility is priority – RTU 3 and RTU 6 are online. RTU 4 (preschool) will be done over spring break

  - All Economizers are non-functioning on all RTU’s – will be fixed when replaced

  - HVAC General

  - Boiler #2 – water jacket will need repaired/replaced when heating season is over.

  - Filters replaced

- Baptismal Font Refurbishment

  - So far everything seems to be running smoothly

- Gardening Angels – Recommendation for new point person?

- Rectory

  - Deck Replacement – K of C – Spring Project – Joe Corso will head up.

  - Toilet repair in Fr. James suite

- Kitchen

  - Freezer compressor failed – under warranty, - paid labor to replace

  - Under hood suppression system – 4lb to 6lb tank – met with Fire Inspector & Pye-Barker, awaiting confirmation from structural engineer approval for bracket placement on wall

- Grounds

  - Evergreen Trees West side – Removal, 2026

  - Lawn care for summer – will send out communication in March to organize mowing teams

  - Speakers in Church

  - March 16-20 – relocate & tune

  - OLIH Foundation Grant awarded 20K

  - Light bulbs in church

  - 7-8 burned out

  - Dwight will replace during spring break

  - Roof over North rooms

  - Needs replaced

  - General Plumbing

  - Items repaired by Premier Plumbing:

  - Rm 13 leaky faucet

  - Gym -Men’s RR-Boy’s urinal – flush valve

  - Rectory toilet tank innards

  - Water fountains outside offices – regulate flow

  - Kitchen – T-connection for soap/sanitizer dispenser (was leaking)

Closing Prayer – Hail Mary or Glory Be

Members:

Fr James Ahenkora	Paul Arend 		Andy Burke 		Joe Corso

Fr. Ambrose Daniel 	Matt Dougan 		Chuck Gassmann 	Kurt Larsen

Larry Murphy 		Tom Primmer